Pakistan Country Office UNICEF

Revised CCEM Pakistan Version 2.1

NOTE: This field guide is to be used for equipment identification only for CCEM data collection.

 (Replicated from PATH)

While in field, during data collection if you have any questions please contact Dr. Shahab S. Hashim/Dr. Saadia F. Younus (0517817/0300 804701)

Cold-Chain Equipment Inventory Identification BOOKLET

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E003002**  Haier, HBD-116, Chest refrigerator, AC electricity | **E003004**  Dometic, TFW800, Icepack freezer, AC electricity | **E3100M**  Electrolux, FCW 200, Chest freezer, AC electricity | **E3110M**  PT. Dilihan Glory, DOVLINE, Chest refrigerator, AC electricity |
|  |  |  |  |
| **E399M**  Electrolux, FCW 300, Chest freezer, AC electricity | **E398M**  Vestfrost, MF 314, Chest freezer, AC electricity | **E397M**  Vestfrost, MF 214, Chest freezer, AC electricity | **E396M**  Vestfrost, MF 114, Chest freezer, AC electricity |
|  |  |  |  |
| **E394M**  Electrolux, RCW 50 AC, Chest refrigerator, AC electricity | **E380M**  Electrolux, TFW 800, Chest freezer, AC electricity | **E330M**  Electrolux, RCW 42AC/CF, Chest refrigerator, AC electricity |  |
|  |  |  |  |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E003005**  Haier, HBC-70, Icelined refrigerator | **E003006**  Haier, HBC-200, Icelined refrigerator | **E003007**  Vestfrost, MK304, Icelined refrigerator | **E003010**  Vestfrost, MK 074, Icelined refrigerator |
|  |  |  |  |
| **E003011**  Vestfrost, MK 204, Icelined refrigerator | **E003012**  Vestfrost, MK404, Icelined refrigerator | **E003013**  True Energy, BLF 100 AC, Icelined refrigerator | **E3111M**  Dometic, TCW 2000, Icelined refrigerator |
|  |  |  |  |
| **E364M**  LEC RefrigerationPLC, VC 139 F, Icelined refrigerator | **E362M**  Electrolux, TCW 1990, Icelined refrigerator | **E357M**  Vestfrost, MK 144, Icelined refrigerator | **E324M**  Electrolux, TCW 1152/CF, Icelined refrigerator |
|  |  |  |  |
| **E3107M**  Dometic, TCW 3000, Icelined refrigerator |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E3102M**  Zero, GR 265 K/E, Icepack freezer, electricity & kerosene | **E395M**  Zero, PF 230 IP KE, Chest freezer, electricity & kerosene | **E391M**  Electrolux, RCW 50 EK, Chest refrigerator; electricity & gas | **E388M**  Electrolux, RCW 50 EG/CF, Chest refrigerator; electricity & gas |
|  |  |  |  |
| **E373M**  Electrolux, FCW 20 EK/CF, Chest freezer, electricity & kerosene | **E372M**  Electrolux, FCW 20 EG/CF, Chest freezer, electricity & gas | **E322M**  Electrolux, RCW 42 EK/CF, Chest refrigerator; electricity & kerosene | **E321M**  Electrolux, RCW 42 EG/CF, Chest refrigerator; electricity & gas |
|  |  |  |  |
| **E3108M**  Zero, PR 265 K/E, Upright refrigerator; electricity & kerosene | **E390M**  Zero, GR 245 G/E, Upright refrigerator; electricity & gas | **E389M**  Zero, PR 245 K/E, Upright refrigerator; electricity & kerosene | **E387M**  Sibir, V 110 KE, Upright refrigerator; electricity & kerosene |
|  |  |  |  |
| **E386M**  Sibir, V 110 GE, Upright refrigerator; electricity & gas | **E385M**  Sibir, V 170 EK, Upright refrigerator; electricity & kerosene | **E384M**  Sibir, V 170 GE, Upright refrigerator; electricity & gas |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E003001**  Dometic, TCW2000DC, Solar photovoltaic refrigerator | **E003008**  Dometic, TCW3000DC, Solar photovoltaic refrigerator | **E003009**  Vestfrost, MKS044, Solar photovoltaic refrigerator | **E3109M**  Bright Light Solar, PS40, Solar photovoltaic refrigerator |
|  |  |  |  |
| **E3106M**  Bright Light Solar, PS65, Solar photovoltaic refrigerator | **E3105M**  Kyocera Solar, VaccPack XL 6000, Solar PV refrigerator | **E3104M**  Kyocera Solar, VaccPack XL 2100, Solar photovoltaic refrigerator | **E3103M**  Dulas, VC-65 F, Solar photovoltaic refrigerator |
| No image available |  |  |  |
| **E3101M**  Solamatic, PVR150, Solar photovoltaic refrigerator | **E393M**  Electrolux, RCW 50DC/CF, Solar photovoltaic refrigerator | **E392M**  Norcoast, Model 120-30, Solar photovoltaic refrigerator | **E383**  TATA BP Solar, TBP VR 50, Solar PV refrigerator |
|  |  |  |  |
| **E379M**  Dulas, VC-150 F, Solar photovoltaic refrigerator | **E377M**  Sun Frost, RFVB, Solar photovoltaic refrigerator | **E370M**  Fortum AES, CFS49 ISI, Solar photovoltaic refrigerator | **E365M**  Norcoast, NRC 30-10, Solar photovoltaic refrigerator |
|  |  |  |  |
| **E337M**  BP Solar, VR50F, Solar photovoltaic refrigerator | **E331M**  Electrolux, RCW 42DC/CF, Solar photovoltaic refrigerator |  |  |
|  |  |  |  |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E004004**  Dometic, RCW12, Long range cold box | **E004005**  Dometic, RCW25,Long range cold box | **E004010**  Apex AICB-444L, Long range cold box | **E004013**  Nilkamal Limited, RCB 444L, Long range cold box |
|  |  |  |  |
| **E004014**  AOV International, ACB-444L, Long range cold box | **E004015**  AOV International, ACB-503L, Long range cold box | **E004018**  Blowkings, CB/12-CF, Long range cold box | **E004023**  AOV International, ACB-264SL, Long range cold box |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | snap |
| **E004024**  AOV International, ACB-316LL, , Long range cold box | **E004025**  Blowkings, CB/20-CF, Long range cold box | **E004031**  Apex International, AICB 503L, Long range cold box | **E478M**  BlowKings CB/5-CF,Long range cold box |
| snap | snap |  |  |
| **E475M**  Apex Internatinal, ICB-8F Long range cold box | **E472M**  Apex International, ICB-11F (Grey), Long range cold box |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | |  | |  | |
| **E004003**  Dometic, RCW8, Short range cold box | **E004016**  AOV International, ACB-324SS, Short range cold box | | **E004017**  AOV International, ACBH-246LS, Short range cold box | | **E004019**  Blowkings,CB/55-CF, Short range cold box | |
|  |  | |  | | No image available | |
| **E004026**  Nilkamal Limited, RCB-246 LS, Short range cold box | | **E004027**  Nilkamal Limited, RCB-324 SS, Short range cold box | | **E004030**  Apex International, AICB 243S, Short range cold box | | **E486M**  Apex International, ICB-14F, Short range cold box |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No image available | No image available | | No image available | | No image available | |
| **E480M**  Polyfoam 390 Short range cold box | **E420M**  Ina ColdMed, CB/INO/D1/90, Short range cold box | | **E410M**  Ina ColdMed, CB/INO/C2/90, Short range cold box | | **E409M**  Ina ColdMed, CB/INO/B3/90, Short range cold box | |
|  |  | |  | |  | |
|  | |  | |  | |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E004002**  Dometic, RCW 4, Long range vaccine carrier | **E004006**  Beijing International, LCB-8A, Long range vaccine carrier | **E004008**  AOV International, AVC-44 Long range vaccine carrier | **E004009**  AOV International, ACV-46, Long range vaccine carrier |
|  |  |  |  |
| **E004012**  Apex International, AIVC-44, Long range vaccine carrier | **E00420**  Blowkings, BK-VC 2.6-CF, Long range vaccine carrier | **E004021**  Blowkings, BK-VC1.7-CF, Long range vaccine carrier | **E004029**  Nilkamal Limited, BCVC-43, Long range vaccine carrier |

|  |  |  |  |
| --- | --- | --- | --- |
| No image available | No image available | No image available | snap |
| **E418M**  Thermos, 3504/UNCF, Long range vaccine carrier | **E488M**  Blowkings, CB/10-CF, Long range vaccine carrier | **E477M**  Blowkings VC/42/MOD/2/CF, Long range vaccine carrier | **E467M**  Apex International, IVC-9AF, Long range vaccine carrier |
| snap | No image available | No image available | **Picture of polio vacc carrier (1)** |
| **E452M**  Giostyle, Long range vaccine carrier | **E437**  SavopakPy, KR48, Long range vaccine carrier | **E434**  Beijing Light, IA, Long range vaccine carrier | **JVVC 900**  Polio vaccine carrier, Dimensions: Internal storage: 17x10x12cm |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E004001**  Coldpack, Antifreeeze Backpack, Short range vaccine carrier | **E004007**  AOV International, ADVC-24, Short range vaccine carrier | **E004011**  Apex International, AIDVC-24, Short range vaccine carrier | **E004022M**  Blowkings, VDC-24-CF, Short range vaccine carrier |
|  | No image available | snap |  |
| **E004028**  Nilkamal Limited, BBVC-23, Short range vaccine carrier | **E455M**  TruePack, TP001, Short range vaccine carrier | **E453M**  Electrolux, RCW2, Short range vaccine carrier |  |